|  | Acceptance & Five-Year Tests ASME A18.1 Section 10.3, 10.4 Platform Lift Test | City of Madison Fire Dept Elevator Inspection Unit 314 W Dayton St Madison WI 53703 Phone: (608) 266-5909 Fax: (608) 267-1100 www.madisonfire.org |
| --- | --- | --- |

Instructions:  Please TYPE or PRINT CLEARLY the information requested on this form.

Personal information you provide may be used for secondary purposes [Privacy Law, s.15.04 (1)(m), Stats.]

| ## Building Name |  |  |  |  |  |  | ## Owner Name |  |  | ## Registration Tag No. |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ## Street Address |  |  |  |  |  |  | ## Address |  |  | Regulated Object ID |  |  |  |
| ## City, State, Zip |  |  |  |  |  |  | ## City, State, Zip |  |  | ## Manufacturer |  |  |  |
| 1 | Type of Test: Acceptance Periodic |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Type: | Vertical Platform Lift Inclined Platform Lift Inclined Stairway Chairlift |  |  |  |  |  |  |  |  |  |  |
| 3 | Driving Means: |  | Chained Hydraulic Roped Hydraulic Screw Rack and Pinion Other __________ |  |  |  |  |  |  |  |  |  |
| 3 | Rated Capacity |  |  |  |  | Rated Speed Up |  |  | Rated Speed Down |  |  |  |
| 4 | Type of Safety Device: |  |  | A B C Other n/a |  |  |  |  |  |  |  |  |
| 5 | 10.3.3.1 Platform Safeties |  |  |  |  |  |  |  |  |  | OK Fail n/a |  |
| 6 | Did Car Set Out of Level: Yes No |  |  |  |  |  |  | If Yes, Inches Out of Level |  |  |  |  |
| 7 | 10.3.3.2 Governors |  |  |  |  |  |  |  |  | OK Fail n/a |  |  |
| 8 | 10.3.3.3 Braking System 125% |  |  |  |  |  |  |  |  | OK Fail n/a |  |  |
| 9 | 10.3.3.4 Ropes |  |  |  |  |  |  |  |  | OK Fail n/a |  |  |
| 10 | 10.3.3.5 Fastenings (Roped Hydraulic) |  |  |  |  |  |  |  |  | OK Fail n/a |  |  |
| 11 | 10.4.5 Normal Terminal Stopping Devices |  |  |  |  |  |  |  |  | OK Fail n/a |  |  |
| 12 | 10.4.6 Stop Ring |  |  |  |  |  |  |  |  | OK Fail n/a |  |  |
| 13 | 10.4.7 Bottom Cylinder Clearance |  |  |  |  |  |  |  |  | OK Fail n/a |  |  |
| 14 | Tested With Rated Load? Yes No |  |  |  |  |  |  | Was Test Satisfactory? Yes No |  |  |  |  |
| 15 | Working Pressure: psi. Relief Pressure: psi. Valve Sealed? Yes No |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 | SPS 318.17086 Auxiliary Power/Emergency Evacuation Devices |  |  |  |  |  |  |  |  |  | OK Fail n/a |  |
|  | Comments: |  |  |  |  |  |  |  |  |  |  |  |
| The Above Tests Were Performed In Compliance With ASME A17.1 and DSPS 18 |  |  |  |  |  |  |  |  |  |  |  |  |
| Firm Performing Test |  |  |  |  | Address |  |  | City, State, Zip |  |  |  | Date of Test |
| Name and License Number of Person Performing Test (Print) |  |  |  |  |  |  |  | Signature of Person Performing Test |  |  |  |  |
| Reports Shall Be Filed With the Madison Fire Department Within 15 (Fifteen) Days of Performing Test. |  |  |  |  |  |  |  |  |  |  |  |  |