## Instructions
City of Madison Building Tune-Up Report
INSTRUCTIONS: All buildings conducting a tune-up to meet the requirements of the City of Madison's Building Energy Savings Program must complete and submit this Tune-up Report Workbook to the City.
The Madison BESP Building Tune-up Guide provides provides step-by-step instructions for completing the tune-up process, including filling out and submitting this Tune-up Reporting Workbook.
General Workbook Functions: • Cells that are red in color require data to be entered into them. • Fields that are not colored or white only require data entry in specific circumstances. • See the instructions on each tab of the report for more information. You can find these instructions or tips by hovering your cursor over the red triangle in the upper right corner of certain cells. If a cell does not have a red triangle, it does not have further guidance. • There is an optional notes section on Tabs E-K for use by the Tune-Up Specialist for tracking and/or for communications and recommendations intended for the Building Owner.
For Building Assessment Tabs E-H, please follow the instructions below:
1. The Tune-Up Specialist must first assess ALL elements in the Assessment Element column (column B).
2. the tune-Up specialist must indicate whether a deficiency was observed or not using the Tune-Up Finding drop-down list (column D). This is required for all Assessment Elements.
3. If a deficiency was observed, the tune-up specialist must describe the corrective action(s) the building owner can take in the Corrective Action Description field (column F). If no deficiency was found, no response is required in column F. A deficiency is when an element does not meet the building owner's requirements or is in need of maintenance or repair. See the the Madison BESP Building Tune-Up Guide for a detailed explanation of corrective actions.
4. Implementation of corrective action(s) is required when the Corrective Action field (column C) is highlighted in green, or voluntary when highlighted in yellow. Implementation may be completed by the tune-up specialist or someone else qualified, such as in-house staff or another vendor. The tune-up specialist must verify the completion of the work and indicate whether the corrective action was implemented in the Status of Tune-Up Corrections drop-down list (column E). If no deficiency was observed, no response is required in column E.
5. When the End Condition/Current Condition field (column H) is not greyed out, the Tune-Up Specialist will describe either the end condition or current condition. If a deficiency was observed and the corrective action(s) has been implemented, this should represent the end condition post implementation. Otherwise, this should represent the current condition. Please make sure to address the topics described in column G.
6. The Description of Extenuating Circumstances field (column I) should be filled out when there are reasons preventing the corrective action from being done.
There is an optional notes section on Tabs E-K for use by the Tune-Up Specialist for tracking and/or for communications and recommendations intended for the Building Owner.
Verifying and Submitting the Report:
The Tune-up Specialist and Building Owner or their designee will digitally sign the report on Tabls I and J, respectively, indicating that they have reviewed this report and approve it submittal. Log in to the Building Owner Portal and follow the instructions on the buildings page.
Need Help? Program details, step-by-step guidance, and how-to videos are available on the BESP program website: https://www.cityofmadison.com/sustainability/energy/buildings/building-energy-savings-program
OR contact the BESP Help Desk for assistance: https://madisonbesp.opentech.eco/support/tickets/new
Version 1.0: January 31, 2025
Next page >>

## A. General Building Info
Tune-Up Summary Report
A. GENERAL BUILDING INFORMATION
BUILDING
A1. Name
A2. Address
A3. Madson Building ID (MBID)
This can be found on the Covered Buildings List.
A4. Portfolio Manager Building ID
This can be found by logging in to Energy Star Portfolio Manager.
OWNER
|  |  | A5. First Name |  | A6. Last Name
A7. Company/Organization/LLC
A8. Mailing Address
|  |  | A9. City |  | A10. State
A11. Zip Code
|  |  | A12. Phone |  | A13. Email
MANAGER/OWNER REPRESENTATIVE (or insert "Same as above" in cell A14)
|  |  | A14. First Name |  | A15. Last Name
A16. If not owner, role with building (e.g. property manager, facility manager, etc.)
A17. Company/Organization/LLC
A18. Mailing Address
|  |  | A19. City |  | A20. State
A21. Zip Code
|  |  | A22. Phone |  | A23. Email
<< Previous page | [5 empty] | Next page >>

## B. Tune-Up Specialist Info
Tune-Up Summary Report
B. TUNE-UP SPECIALIST INFORMATION
Please fill out the information below. Note that a tune-up must be carried out by a qualified tune-up specialist or a team under their supervision. Tune-up specialists must meet the qualifications listed in the Building Energy Savings Program Ordinance. See the BESP website for a list of accepted Tune-up Specialist certifications.
|  |  | B1. First Name |  | B2. Last Name
|  |  | B3. Tune-Up Specialist Qualification |  | B4. Relevant ID # (example PE or CEM registration)
B5. Company
|  |  | B6. Address | B7. State
|  |  | B8. City | B9. Zip Code
B10. Email Address
B11. Phone Number
<< Previous page | [5 empty] | Next page >>
Note on C6: Building owners and managers can use Focus on Energy's Trade Ally network to help find tune-up specialists: https://focusonenergy.com/trade-allies
Note on D14: Note the relevant tune specialist qualification from the list of approved qualifications on the BESP website.

## C. Building Characteristics
Tune-Up Summary Report
C. BUILDING CHARACTERISTICS
|  |  | C1. Total non-residential gross floor area (excluding parking area) |  |  | C2. Parking garage area (per Portfolio Manager) if applicable
|  |  | C3. Year built |  |  | C4. Number of levels of Parking if applicable
C5. Number of floors
C6. Year and description of any major building remodels (e.g. permitted as substantial alteration, major change of building use or function that would alter energy use).
C7. Primary building use (per Portfolio Manager)
C8. Was the building originally designed for the current use?
C9. Overall building occupancy
|  |  | C10. Does the building have electric vehicle (EV) charging stations? |  |  | C11. Are they separately metered? |  | C12. Number and type of EV charging stations
|  |  | C13. Does the building have on-site renewables/self-generated energy? |  |  | C14. Average annual generation (if known) in kwh
C15. Provide information for the five most energy intensive space uses in the building.
|  |  | Space Use - Complete for up to 5 largest energy users | Square Feet | Primary Heating System |  | Primary Cooling System |  | Primary Lighting Technology | Primary Ventilation System | Primary Distribution System | Primary Domestic Hot Water System | Notes
[5 empty] | Type |  | Type |  |  | Type | Type | Type
[5 empty] | Age |  | Age |  |  | Age | Age | Age
[5 empty] | Condition |  | Condition |  |  | Condition | Condition | Condition
[5 empty] | Type |  | Type |  |  | Type | Type | Type
[5 empty] | Age |  | Age |  |  | Age | Age | Age
[5 empty] | Condition |  | Condition |  |  | Condition | Condition | Condition
[5 empty] | Type |  | Type |  |  | Type | Type | Type
[5 empty] | Age |  | Age |  |  | Age | Age | Age
[5 empty] | Condition |  | Condition |  |  | Condition | Condition | Condition
[5 empty] | Type |  | Type |  |  | Type | Type | Type
[5 empty] | Age |  | Age |  |  | Age | Age | Age
[5 empty] | Condition |  | Condition |  |  | Condition | Condition | Condition
[5 empty] | Type |  | Type |  |  | Type | Type | Type
[5 empty] | Age |  | Age |  |  | Age | Age | Age
[5 empty] | Condition |  | Condition |  |  | Condition | Condition | Condition
C16. Describe additional significant energy uses (e.g. major pumping equipment) and their energy source (e.g. gas, electric, steam) if applicable.
|  |  | C17. Main wall construction |  | C18. Are the walls insulated? |  | C19. R-value (if known)
|  |  | C20. Main roof construction |  | C21. Is the roof insulated? |  | C22. R-value (if known)
[5 empty] | C23. Is the attic/ceiling insulated differently than the roof? |  | C24. R-value (if known)
C26. What percentage of the buildings windows are single-paned?
C27. Does this building have a Building Automation System(s)?
C28. If yes, choose one:
<< Previous page | [13 empty] | Next page >>
Note on D29: Determine the most energy intensive space use(s) (eg: Office, retail, warehouse) and note them here in order of most to least. ======
Note on D32: Determine the most energy intensive space use(s) (eg: Office, retail, warehouse) and note them here in order of most to least. ======
Note on D35: Determine the most energy intensive space use(s) (eg: Office, retail, warehouse) and note them here in order of most to least. ======
Note on D38: Determine the most energy intensive space use(s) (eg: Office, retail, warehouse) and note them here in order of most to least. ======
Note on D41: Determine the most energy intensive space use(s) (eg: Office, retail, warehouse) and note them here in order of most to least. ======

## D. Summary of Tune-Up Findings
Tune-Up Summary Report
D. SUMMARY OF TUNE-UP FINDINGS
D1. Date of Initial Tune-Up Assessment
D2. Briefly describe the 3-5 required tune-up actions that are expected to provide the greatest energy savings.
1.
2.
3.
4.
5.
D3. Briefly describe the 3-5 recommended tune-up actions that are expected to provide the greatest energy savings.
1.
2.
3.
4.
5.
SAMPLING APPROACH DESCRIPTION
This section is required if sampling was used for the assessment (see instructions in the comment field for examples).
D4. Describe heating system sampling approach(es), if applicable.
D5. Describe cooling system sampling approach(es), if applicable.
D6. Describe lighting system sampling approach(es), if applicable.
D7. Describe water system sampling approach(es), if applicable.
Small Spaces with Tenant-Owned Equipment
Spaces 5,000 SF or smaller that are occupied by a tenant and where the tenant owns, operates and maintains the mechanical equipment (e.g. HVAC) may be excluded?
D8. Did you exclude any "Small Spaces with Tenant-Owned Equipment" as defined above from the tune-up?
D10. If yes, please briefly describe the excluded space(s) (e.g. retail space).
D9. If yes, please list the total SF that was excluded.
<< Previous page |  |  |  | Next page >>
Optional Notes for Tune-Up Specialist and/or Building Owner
Note on D23: Sampling may be applied to assessing multiple pieces of repetitive, identical equipment (e.g. fan coils, plumbing fixtures, or lighting sensors on the same schedules). The sample must include at least 12 percent of each identical piece of equipment, but no fewer than ten (10) of each in buildings 50,000-99,999 SF; and no fewer than 20 in buildings 100,000 SF or larger. If sampling is employed, describe sampling approach. Example responses may include: full census (no sampling); 12% by floor area; 12% by equipment; or response may reference a commonly used industry standard such as an AEE guideline for sampling HVAC systems.
Note on C46: This space is provided for use by the Tune-Up Specialist for tracking and/or for communications and recommendations intended for the Building Owner. The City of Madison will not consider this content in its review of summary reports; therefore, DO NOT put notes intended for the City of Madison in this space. Content in this space may be either maintained or deleted by the Tune-Up Specialist or Owner prior to submitting the report to the City. ======

## E. HVAC Assessment
Tune-Up Report
Pink cells are required to be filled out
| E. HEATING, VENTILATION, AND AIR CONDITIONING TUNE-UP ELEMENTS |  |  | If deficiency found, implementation of green corrective actions is required
If deficiency found, implementation of yellow corrective actions is voluntary
OPERATING PROTOCOLS, CALIBRATION, AND SEQUENCING
| Assessment Element | Corrective Action | Tune-Up Finding | Status of Tune-Up Corrections (Track completion status) | Corrective Action Description (if applicable) | End Condition/Current Condition (If deficiency observed, state end condition after implementation of corrective action. Otherwise, state current condition.) | Description of Extenuating Circumstances (if applicable)
E1. | Review HVAC equipment schedules (Including daily, weekly, seasonal, day/night, occupied/unoccupied hours). | If deficiency found, did you set schedules to optimize operations for actual building occupancy patterns? Corrective action is required. |  |  |  | Briefly describe the HVAC scheduling, including most typical schedule, and note if any of the following conditions exist: 24-hours operations, seasonal variations, or large spaces with highly variable occupancy.
E2. | Review HVAC set points (including space temperatures, supply air temperatures, CO2, boiler temperatures, chilled water temperatures, economizer changeover temperatures, and building pressure). | If deficiency found, did you set or adjust to optimize function and energy efficiency of operations as appropriate to support the building use and occupant needs? Corrective action is required. |  |  |  | Briefly describe how ventilation supplied and controlled to the building, most typical heating and cooling setpoints, what spaces/equipment are controlled by CO2 sensors, and if the building pressure controlled.
E3. | Review reset schedules (including supply air temperature, supply air pressure, boiler and chiller water temperature, lockouts with outside air temperature, loop differential pressure). | If deficiency found, did you establish or adjust schedules as appropriate? Corrective action is required. |  |  |  | If there is a hydronic heating loop is the supply water temperature reset? Describe. If there is a chilled water loop is the chilled water temp controlled? Describe.
E4. | Review optimal stop/start capabilities. | If deficiency found, did you implement optimal start/stop capabilities as appropriate to support the building use and occupant needs? Corrective action is required. |  |  |  | How are controls set to achieve target temperatures for morning occupied hours?
E5. | Verify HVAC sensors are functioning and calibrated appropriately. | If deficiency found, did you did you repair as appropriate where doing so is generally a standard or regular maintenance action and/or adjust/calibrate sensors as appropriate? Corrective action is required.
E6. | Verify HVAC sensors are in appropriate locations. | If deficiency found, did you recommend appropriate locations? Corrective action is voluntary.
E7. | Verify HVAC controls are functioning as intended. | If deficiency found, did you adjust control sequences as appropriate for current facility requirements? Corrective action is required. |  |  |  | Are there areas of the building with separate equipment that could be running in heating and cooling at the same time? How are controls designed/set to prevent this?
E8. | Review HVAC controls for unintended or inappropriate instances of simultaneous heating and cooling. | If deficiency found, did you adjust HVAC controls to reduce or eliminate any unintended or inappropriate simultaneous heating and cooling? Corrective action is required.
E9 | Note any indications of significant air-balancing issues (e.g. wind-tunnel effect). | If deficiency found, did you recommend rebalancing of HVAC air and water systems where significant efficiency or comfort improvements can be achieved? Corrective action is voluntary.
E10. | Identify areas with indications that ventilation rates may vary significantly from ASHRAE 62.1 Standards and be inappropriate for current facility requirements (e.g. no outside air supply or 100% outside air supply). | If deficiency found, did you recommend an analysis of ventilation system? Corrective action is voluntary.
MAINTENANCE, CLEANING, AND REPAIR
| Assessment element | Corrective action | Tune-up finding | Status tune-up corrections (Track completion status) | Corrective action description, if applicable | End condition (If no deficiency, state current condition. If correction, state end condition) | Description of Extenuating Circumstances (if applicable)
E11. | Identify zones that are dominating multi-zone system operations. | If deficiency found, did you recommend solutions to isolate these zones? Corrective action is voluntary.
E12. | Verify HVAC equipment (such as grilles, coils, and ducts) is clean and adequately maintained according to ANSI/ASHRAE/ACCA Standard 180-2012 (or current edition). | If deficiency found, did you clean where adversely impacting system performance? Corrective action is required.
E13. | Check filters and strainers. | If deficiency found, did you clean or replace filters and strainers where appropriate and where they are adversely impacting system performance? Corrective action is required.
E14. |  | If deficiency found, did you recommend maintenance protocols as appropriate? Refer to ANSI/ASHRAE/ACCA Standard 180-2012 (or current edition). Corrective action is voluntary.
E15. | Verify that equipment observed during the assessment is in good working condition (such as motors, fans, pumps, belts, pulleys, bearings, and steam traps). Refer to ANSI/ASHRAE/ACCA Standard 180-2012 (or current edition). | If deficiency found, did you repair as appropriate where doing so is generally a standard or regular maintenance action? Corrective action is required.
E16. |  | If deficiency found, did you recommend repairs or replacement if scope of work is more than standard maintenance? Corrective action is voluntary.
E17. | If ducts and pipes are visible and accessible, verify that HVAC duct and pipe insulation is in place. | If deficiency found, did you recommend installation or repair of insulation as appropriate? Corrective action is voluntary.
E18. | Check valves and dampers. | If deficiency found, did you adjust according to ANSI/ASHRAE/ACCA Standard 180-2012 (or current edition) if not opening and closing fully? Corrective action is required.
E19. | Identify equipment approaching the end of its service life, per ASHRAE Service Life Database. | If deficiency found, did you recommend replacement plan and schedule as appropriate? Corrective action is voluntary.
E20. | Verify cooling tower conductivity meter used to control blow down is calibrated and functioning properly. | If deficiency found, did you adjust as appropriate? Corrective action is required. |  |  |  | Briefly describe any significant uses of process water.
E21. |  | If deficiency found, did you recommend repairs as appropriate? Corrective action is voluntary.
E22. | Evaluate cooling towers for water leaks and excess water consumption. | If deficiency found, did you repair as appropriate for standard or regular maintenance actions? Corrective action is required.
<< Previous page | [6 empty] | Next page >>
Optional Notes for Tune-Up Specialist and/or Building Owner
Note on F7: If a deficiency is observed, succinctly describe the corrective action required or recommended (i.e. reduced hours of primary building HVAC schedule approximately 3hrs/day).
Note on G7: Example: Majority of spaces scheduled 6AM-8PM M-F, 8AM-4PM S-S.
Note on I7: Implementation of corrective actions in green is required. If not corrected, explain unique or extenuating circumstances for City consideration during compliance review. (i.e. Optimal Start not implemented. Critical office zone has undersized heating. System must be brought on early in order to bring office up to temperature in time for normal operations.)
Note on F20: If a deficiency is observed, succinctly describe the corrective action required or recommended (i.e. reduced hours of primary building HVAC schedule approximately 3hrs/day).
Note on G20: Example: Majority of spaces scheduled 6AM-8PM M-F, 8AM-4PM S-S.
Note on I20: Required corrections are mandatory. If not corrected, explain unique or extenuating circumstances for City consideration during compliance review. (i.e. Optimal Start not implemented. Critical office zone has undersized heating. System must be brough on early in order to bring office up to temperature in time for normal operations.)
Note on B35: This space is provided for use by the Tune-Up Specialist for tracking and/or for communications and recommendations intended for the Building Owner. The City of Madison will not consider this content in its review of summary reports; therefore, DO NOT put notes intended for the City of Madison in this space. Content in this space may be either maintained or deleted by the Tune-Up Specialist or Owner prior to submitting the report to the City.

## F. Lighting Assessment
Tune-Up Report
Pink cells are required to be filled out
| F. LIGHTING TUNE-UP ELEMENTS |  |  | If deficiency found, implementation of green corrective actions is required
If deficiency found, implementation of yellow corrective actions is voluntary
| Assessment Element | Corrective Action | Tune-Up Finding | Status of Tune-Up Corrections (Track completion status) | Corrective Action Description (If applicable) | End Condition/Current Condition (If deficiency observed, state end condition after implementation of corrective action. Otherwise, state current condition.) | Description of Extenuating Circumstances (if applicable)
F1. | Identify any areas where lighting levels appear to be significantly higher than appropriate for the space use and occupant needs. | If deficiency found, did you recommend areas which could benefit from dimming or de-lamping and/or where the lighting power density can be improved? Corrective action is voluntary.
F2. | Verify lighting sensors are working and located appropriately for the current functioning of the building. | If deficiency found, did you identify areas which could benefit from occupancy or daylight sensors? Corrective action is voluntary. |  |  |  | Briefly describe any areas where occupancy sensors would be expected to provide significant savings. Are there any daylighting sensors in the building? Discuss.
F3. | Review lighting controls schedules and sequences. | If deficiency found, did you set or adjust schedules as appropriate to match actual building use patterns? Corrective action is required. |  |  |  | Briefly describe any lighting controls in the building. Identify primary lighting control schedule.
F4. | Identify inefficient lighting equipment (such as incandescent, T12, or metal halide lighting). | If deficiency found, did you recommend replacement? Corrective action is voluntary.
<< Previous page | [6 empty] | Next page >>
Optional Notes for Tune-Up Specialist and/or Building Owner
Note on F6: If a deficiency is observed, succinctly describe the corrective action required or recommended.
Note on G6: Example: Majority of spaces scheduled 6AM-8PM M-F, 8AM-4PM S-S.
Note on I6: Implementation of corrective actions in green is required. If not corrected, explain unique or extenuating circumstances for City consideration during compliance review.
Note on C7: Measure illuminance levels in areas where light levels are suspected to exceed IES guidelines or where occupant discomfort is apparent by delamped fixtures or other measures to reduce light in the space.
Note on C9: Check that lighting controllers, time-clocks and photocells (if present) are operational.
Note on C10: Document inefficient lamps identified by staff or clearly visible without removing shades.
Note on B13: This space is provided for use by the Tune-Up Specialist for tracking and/or for communications and recommendations intended for the Building Owner. The City of Madison will not consider this content in its review of summary reports; therefore, DO NOT put notes intended for the City of Madison in this space. Content in this space may be either maintained or deleted by the Tune-Up Specialist or Owner prior to submitting the report to the City.

## G. DHW Assessment
Tune-Up Report
Pink cells are required to be filled out
| G. DOMESTIC HOT WATER TUNE-UP ELEMENTS |  |  | If deficiency found, implementation of green corrective actions is required
If deficiency found, implementation of yellow corrective actions is voluntary
| Assessment Element | Corrective Action | Tune-Up Finding | Status Tune-Up Corrections (Track completion status) | Corrective Action Description (If applicable) | End Condition/Current Condition (If deficiency observed, state end condition after implementation of corrective action. Otherwise, state current condition.) | Description of Extenuating Circumstances (if applicable)
G1. | Review domestic hot water temperature set points. | If deficiency found, did you adjust set points to improve efficiency as appropriate for building use and occupant needs? Corrective action is required.
G2. | Review circulation pump controls. | If deficiency found, did you set or adjust as appropriate according to ANSI/ASHRAE/ACCA Standard 180-2012 (or current edition)? Corrective action is required. |  |  |  | Briefly discuss whether any controls exist over the recirculation pumping.
Water Softening Tune-Up Elements
G3. Make/Model
G4. Vendor
G5. Size (Cubic ft. of resin)
G6. Salt Use (Aproximate - lb/month)
| Assessment Element | Corrective Action | Tune-Up Finding | Status Tune-Up Corrections (Track completion status) | Corrective Action Description (If applicable) | End Condition/Current Condition (If deficiency observed, state end condition after implementation of corrective action. Otherwise, state current condition.) | Description of Extenuating Circumstances (if applicable)
G7. | Review Water Softening Efficiency | If efficiency is less than 4,000 grain/lb, optimize or upgrade softener to system to one that can achieve =>4,000 grains/lb. Corrective action is required.
G8. | Review Sizing and Building Soft Water Needs | Review Sizing and Building Soft Water Needs: If softener is oversized and regenerates less frequently than once per week, evaluate and provide recommendations regarding proper sizing. Corrective action is voluntary.
G9. | Review age of Equipment | If softener is older than 15 years old, recommend replacement plan and schedule as appropriate. Corrective action is voluntary.
<< Previous page | [6 empty] | Next page >>
Optional Notes for Tune-Up Specialist and/or Building Owner
Note: Resources, including funding, to support water softener efficiency improvement and soft water use reduction available at:
https://www.madsewer.org/pollution-prevention/chloride/for-businesses/
Note on F6: If a deficiency is observed, succinctly describe the corrective action required or recommended.
Note on G6: Example: Majority of spaces scheduled 6AM-8PM M-F, 8AM-4PM S-S.
Note on I6: Implementation of corrective actions in green is required. If not corrected, explain unique or extenuating circumstances for City consideration during compliance review.
Note on B25: This space is provided for use by the Tune-Up Specialist for tracking and/or for communications and recommendations intended for the Building Owner. The City of Madison will not consider this content in its review of summary reports; therefore, DO NOT put notes intended for the City of Madison in this space. Content in this space may be either maintained or deleted by the Tune-Up Specialist or Owner prior to submitting the report to the City.

## H. Envelope Assessment
Tune-Up Summary Report
Pink cells are required to be filled out
| H. ENVELOPE TUNE-UP ELEMENTS |  |  | If deficiency found, implementation of green corrective actions is required
If deficiency found, implementation of yellow corrective actions is voluntary
| Assessment Element | Corrective Action | Tune-Up Finding | Status Tune-Up Corrections (Track completion status) | Corrective Action Description (If applicable) | End Condition/Current Condition (If deficiency observed, state end condition after implementation of corrective action. Otherwise, state current condition.) | Description of Extenuating Circumstances (if applicable)
H1. | Check for roof penetrations and damage to siding that allows the entry of air or water or gaps in building envelope (such as areas requiring weather-stripping, dampers, top of elevator shaft, broken windows, and/or doors propped open). | If deficiency found, did you recommend repairs if scope of work is more than standard maintenance? Corrective action is voluntary.
H2. | Visually inspect accessible ductwork and inquire of staff if damaged ductwork is present (such as disconnects and/or holes). | If deficiency found, did you recommend repairs if scope of work is more than standard maintenance? Corrective action is voluntary.
H3. | Identify any uninsulated attic areas or areas where attic insulation has been disturbed. | If deficiency found, did you recommend improvements if scope of work is more than standard maintenance? Corrective action is voluntary. |  |  |  | Estimate average roof and wall insulation.
<< Previous page | [6 empty] | Next page >>
Optional Notes for Tune-Up Specialist and/or Building Owner
Note on F6: If a deficiency is observed, succinctly describe the corrective action required or recommended.
Note on G6: Example: Majority of spaces scheduled 6AM-8PM M-F, 8AM-4PM S-S.
Note on I6: Implementation of corrective actions in green is required. If not corrected, explain unique or extenuating circumstances for City consideration during compliance review.
Note on C7: Visually inspect the perimeter and roof of the building, note any propped doors or damaged windows or other equipment and inquire of staff if any damaged equipment or envelope components are allowing entry of air or water.
Note on B12: This space is provided for use by the Tune-Up Specialist for tracking and/or for communications and recommendations intended for the Building Owner. The City of Madison will not consider this content in its review of summary reports; therefore, DO NOT put notes intended for the City of Madison in this space. Content in this space may be either maintained or deleted by the Tune-Up Specialist or Owner prior to submitting the report to the City.

## I. Submittal Page
City of Madison Building Tune-Up Workbook
I. CERTIFICATION PAGE
| By completing the box below (I1) as the building's Tune-Up Specialist, I, |  |  | ,
certify that I have shared the tune-up findings with the building owner and that all statements made on this application are true, complete, and correct to the best of my knowledge and belief. I understand these statements are subject to verification.
TUNE-UP SPECIALIST
| I1. Name | I2. Date
<< Previous page |  |  | Next page >>

## J. Certification Page
City of Madison Building Tune-Up Workbook
J. CERTIFICATION PAGE
Public Disclosure Statement The City has expressed a public interest in preventing the disclosure of building information contained in this form and, under MGO Sec. 29.40(5)(a), this report will not be released by the City except when required by state or federal laws. Data contained in the report may be aggregated for analysis and public release, and the City will take reasonable precautions to ensure that specific building or owner data cannot be readily determined.
| By completing the box below (J1) as Owner or representative of the Building’s Owner, I, |  | ,
certify that I certify that I have received the Tune-up findings and are providing the same to the City as required by MGO Sec. 29.40(4)(b)2.
BUILDING OWNER OR DESIGNATED REPRESENTATIVE
| J1. Name | J2. Date
<< Previous page

## Drop-down boxes (hidden)
[14 empty] | Wall types | State Abbreviations
AL
[7 empty] | Yes- Solar generation |  |  | kWh | 0-10 percent | Yes (no corrections needed) | 0-5 years old | Wood framed 2x4 | AK
No deficiency was observed. | [6 empty] | Yes- Biomass |  |  | kBtu | 11-20 percent | No | 6-10 years old | Wood framed 2x6 or greater | AZ
A deficiency was observed, and correction is required. |  |  | Direct Digital Control |  |  |  | Yes- Other |  |  |  | 21-30 percent |  | 11-20 years old | Wood Framed double wall | AR
A deficiency was observed, and correction is voluntary. |  |  | Pneumatic |  |  |  | No |  |  |  | 31-40 percent |  | 21-30 years old | Metal framed 2x4 | CA
N/A. This tune-up action did not apply to my building. | [6 empty] | Unknown |  |  |  | 41-50 percent |  | 31-50 years old | Metal framed 2x6 or greater | CO
[11 empty] | 51-60 percent |  | > 51 years old | Metal Framed double | CT
[11 empty] | 61-70 percent |  |  | Concrete with no furring or cladding | DE
[11 empty] | 71-80 percent |  | New | Concrete with furring | FL
No deficiency was observed. | [10 empty] | 81-90 percent |  | Good | Concrete with exterior cladding | GA
A deficiency was observed and correction is required. | [10 empty] | 91-100 percent |  | Fair | CMU with no furring or cladding | HI
A deficiency was observed and correction is voluntary. | [12 empty] | Poor | CMU with furring | ID
No, I did not perform this tune-up action. | [12 empty] | End of Life (not able to be repaired, obsolesced) | CMU with exterior cladding | IL
N/A. This tune-up action did not apply to my building. | [12 empty] | Not Functioning (for completely broken equipment) | Brick with no furring or cladding | IN
[14 empty] | Brick with furring | IA
[12 empty] | Required action not completed |  | Brick with exterior cladding | KS
Yes | [11 empty] | Required action is complete |  | Stress Skin Panels/SIPS | KY
No | [11 empty] | No deficiency observed or NA |  | Stone or Masonry Curtain Wall | LA
N/A | [13 empty] | Aluminum Panel Curtain Wall | ME
[14 empty] | Glazed Curtain Wall | MD
[14 empty] | Other | MA
[14 empty] | Unknown | MI
Confirmed | [11 empty] | Voluntary action(s) recommended, but not implemented |  |  | MN
[12 empty] | Voluntary action(s) recommended and underway or complete |  |  | MS
[12 empty] | No deficiency observed or NA |  |  | MO
[14 empty] | Roof Types | MT
NE
[14 empty] | Attic | NV
[14 empty] | Framed Cavity | NH
[14 empty] | Dropped Ceiling | NJ
[14 empty] | Open Framing (Wood joists or beams) | NM
[14 empty] | Open Framing (Metal joists or beams) | NY
[14 empty] | Open Framing (Concrete joists or beams) | NC
[14 empty] | Built up roof | ND
[9 empty] | 0-25 percent |  |  |  |  | Other | OH
[9 empty] | 26-50 percent |  |  |  |  | Unknown | OK
[9 empty] | 51-75 percent | [5 empty] | OR
[9 empty] | 76-100 percent |  |  | Natural Ventilation (>4% operable area/floor area) |  | Window Frame Material | PA
[12 empty] | Fixed outside air damper |  |  | RI
[12 empty] | 100% outside air |  | Wood | SC
[12 empty] | Demand controlled ventilation (CO2 or other) |  | Steel | SD
[12 empty] | Exhaust only with passive make-up air |  | Aluminum | TN
[12 empty] | Heat recovery or Energy recovery ventilation |  | Aluminum, Thermal Break (if known) | TX
[12 empty] | Dedicated Outdoor Air System |  | Vinyl | UT
[12 empty] | Economizer |  | Other | VT
[14 empty] | Unknown | VA
| Distribution System |  | Cooling |  | Heating |  | Ventilation |  | Lighting |  | Hot Water |  |  |  | WA
[14 empty] | Window Glazing Type | WV
| Same as Above | Air Handler Unit Multi Zone | Same as Above | California Heat Pump Loop | Same as Above | Boiler - Electric | Same as Above | Natural Ventilation (>4% operable area/floor area) | Same as Above | Compact Fluorescent - Other Base | Same as Above | Gas water heating tank(s) |  |  | WI
| Air Handler Unit Multi Zone | Air Handler Unit Single Zone | California Heat Pump Loop | Chiller Plant | Boiler - Electric | Boiler - Gas | Natural Ventilation (>4% operable area/floor area) | 100% Outside Air | Compact Fluorescent - Other Base | Compact Fluorescent - Pin Base | Gas water heating tank(s) | Electric water heating tank(s) |  | Single Glazed | WY
| Air Handler Unit Single Zone | Constant Volume AHU | Chiller Plant | Direct Expansion Split System | Boiler - Gas | Boiler - Other | 100% Outside Air | Dedicated Outdoor Air System | Compact Fluorescent - Pin Base | Compact Fluorescent - Twist Base | Electric water heating tank(s) | Heat Pump water heating tank(s) |  | Double Glazed | If outside USA, include in City field
| Constant Volume AHU | Constant Volume AHU with zone heating coils | Direct Expansion Split System | Direct Expansion Window AC Unit | Boiler - Other | California Heat Pump Loop | Dedicated Outdoor Air System | Demand Controlled Ventilation (CO2 or other) | Compact Fluorescent - Twist Base | Linear Fluorescent - T12 | Heat Pump water heating tank(s) | Solar water heating tank(s) with gas backup |  | Double Glazed Low-e (if known)
| Constant Volume AHU with zone heating coils | Fan Coils - Hot Water | Direct Expansion Window AC Unit | District Chilled Water Cooling Plant | California Heat Pump Loop | Constant Volume AHU | Demand Controlled Ventilation (CO2 or other) | Exhaust Only with Passive Make-up Air | Linear Fluorescent - T12 | Linear Fluorescent - T5 | Solar water heating tank(s) with gas backup | Solar water heating tank(s) with electric backup |  | Triple Glazed
| Fan Coils - Hot Water | Fan Coils - Refrigerant | District Chilled Water Cooling Plant | Ductless Heat Pump | Constant Volume AHU | Constant Volume AHU with Zone Heating Coils | Exhaust Only with Passive Make-up Air | Fixed Outside Air Damper | Linear Fluorescent - T5 | Linear Fluorescent - T8 | Solar water heating tank(s) with electric backup | Central Gas Boiler for Water Heating |  | Other
| Fan Coils - Refrigerant | Fan Coils - Steam | Ductless Heat Pump | Evaporative Cooler | Constant Volume AHU with Zone Heating Coils | District Hot Water Plant | Fixed Outside Air Damper | Heat Recovery or Energy Recovery Ventilation | Linear Fluorescent - T8 | Fluorescent - Other | Central Gas Boiler for Water Heating | Central Oil Boiler for Water Heating |  | Unknown
| Fan Coils - Steam | Forced Air Fan | Evaporative Cooler | Heat Pump Air Source Split System | District Hot Water Plant | District Steam Plant | Heat Recovery or Energy Recovery Ventilation | Other - please describe in Notes column | Fluorescent - Other | Fluorescent - U-lamp | Central Oil Boiler for Water Heating | Central Boiler for Combined Space and Water Heating
| Forced Air Fan | Packaged VAV | Heat Pump Air Source Split System | Heat Pump Air Source Variable Refrigerant Flow | District Steam Plant | Ductless Heat Pump | Other - please describe in Notes column |  | Fluorescent - U-lamp | High Intensity Discharge | Central Boiler for Combined Space and Water Heating | On Demand Gas Water Heater
| Packaged VAV | Powered Induction Terminal Unit | Heat Pump Air Source Variable Refrigerant Flow | Heat Pump Ground Source | Ductless Heat Pump | Electric Resistance Baseboard, Cabinet Heater |  |  | High Intensity Discharge | High Pressure Sodium | On Demand Gas Water Heater | On Demand Electric Water Heater
| Powered Induction Terminal Unit | Radiant Electric Baseboard or Surface | Heat Pump Ground Source | Heat Pump Water Source | Electric Resistance Baseboard, Cabinet Heater | Furnace - Electric |  |  | High Pressure Sodium | Incandescent - Edison/Standard | On Demand Electric Water Heater | Waste Heat exchange system
| Radiant Electric Baseboard or Surface | Radiators - Hot Water | Heat Pump Water Source | Packaged Rooftop Unit | Furnace - Electric | Furnace - Gas |  |  | Incandescent - Edison/Standard | Incandescent - Halogen | Waste Heat exchange system | Steam Heat exchange system
| Radiators - Hot Water | Radiators - Steam | Packaged Rooftop Unit | Packaged Terminal AC | Furnace - Gas | Heat Pump Air Source Split System |  |  | Incandescent - Halogen | LED - Integrated Fixture | Steam Heat exchange system | Other - please describe in Notes column
| Radiators - Steam | Reheat Terminal Unit Electric | Packaged Terminal AC | Packaged Terminal HP | Heat Pump Air Source Split System | Heat Pump Air Source Variable Refrigerant Flow |  |  | LED - Integrated Fixture | LED - Linear Format | Other - please describe in Notes column | No DHW System
| Reheat Terminal Unit Electric | Reheat Terminal Unit Gas | Packaged Terminal HP | Other - please describe in Notes column | Heat Pump Air Source Variable Refrigerant Flow | Heat Pump Ground Source |  |  | LED - Linear Format | LED - Removable Lamps | No DHW System
| Reheat Terminal Unit Gas | Other - please describe in Notes column | Other - please describe in Notes column | No Cooling | Heat Pump Ground Source | Heat Pump Water Source |  |  | LED - Removable Lamps | Mercury Vapor
| Other - please describe in Notes column | No Distribution System | No Cooling |  | Heat Pump Water Source | Make-up Air Unit - Electric |  |  | Mercury Vapor | Metal Halide
| No Distribution System |  |  |  | Make-up Air Unit - Electric | Make-up Air Unit - Gas |  |  | Metal Halide | Other - please describe in Notes column
[5 empty] | Make-up Air Unit - Gas | Packaged Terminal HP |  |  | Other - please describe in Notes column | Unknown
[5 empty] | Packaged Terminal HP | Packaged VAV - Electric Reheat |  |  | Unknown
[5 empty] | Packaged VAV - Electric Reheat | Packaged VAV - Gas Reheat
[5 empty] | Packaged VAV - Gas Reheat | Packaged VAV - Hot Water
[5 empty] | Packaged VAV - Hot Water | PRTU - Gas
[5 empty] | PRTU - Gas | PRTU - Heat Pump
[5 empty] | PRTU - Heat Pump | Unit Heater - Electric
[5 empty] | Unit Heater - Electric | Unit Heater - Gas
[5 empty] | Unit Heater - Gas | Wood Stove
[5 empty] | Wood Stove | Other - please describe in Notes column
[5 empty] | Other - please describe in Notes column | No Heating
No Heating
HVAC Tab: | [8 empty] | Lighting Tab:
G1. |  | No deficiency observed. | Deficiency observed and correction is required | N/A. This building has 24/7 occupancy and no seasonal variation. | N/A. There is no means to schedule the equipment in this building. | N/A. Extenuating circumstance as described at right. |  |  | H1. |  | No deficiency observed. | Deficiency observed and correction is voluntary | N/A. It is not possible to safely reduce lighting levels in the overlit space with existing fixtures. | N/A. Extenuating circumstance as described at right.
G2. |  | No deficiency observed. | Deficiency observed and correction is required | N/A. This building does not include any adjustable equipment. | N/A. This building's equipment does not include controls. | N/A. Extenuating circumstance as described at right. |  |  | H2. |  | No deficiency observed. | Deficiency observed and correction is voluntary | N/A. This building has no lighting sensors. | N/A. Extenuating circumstance as described at right.
G3. |  | No deficiency observed. | Deficiency observed and correction is required | N/A. This building does not include any adjustable equipment. | N/A. This building's equipment does not include reset scheduling capabilities. | N/A. Extenuating circumstance as described at right. |  |  | H3. |  | No deficiency observed. | Deficiency observed and correction is required | N/A. It is not possible to adjust schedules to building use patterns due to inappropriate controls. | N/A. This building has no lighting controls installed. | N/A. Extenuating circumstance as described at right.
G4. |  | No deficiency observed. | Deficiency observed and correction is required | N/A. This building has 24/7 occupancy and no seasonal variation. | N/A. There is no means to vary control of the equipment in this building. | N/A. Extenuating circumstance as described at right. |  |  | H4. |  | No deficiency observed. | Deficiency observed and correction is voluntary | N/A. No information about lamp types could be gathered. | N/A. Extenuating circumstance as described at right.
G5. |  | No deficiency observed. | Deficiency observed and correction is required | N/A. This building has no HVAC sensors. | N/A. Extenuating circumstance as described at right.
G6. |  | No deficiency observed. | Deficiency observed and correction is required | N/A. This building's equipment does not include controls. | N/A. This building's HVAC controls were intended for different space use and cannot accommodate current needs. | N/A. Extenuating circumstance as described at right. |  |  | DHW Tab:
G7. |  | No deficiency observed. | Deficiency observed and correction is required | N/A. Extenuating circumstance as described at right. |  |  |  |  | G1. and G7. |  | No deficiency observed. | Deficiency observed and correction is required | N/A. It is not possible to reduce setpoint to the appropriate level using the existing controls. | N/A. Extenuating circumstance as described at right.
G8. |  | No deficiency observed. | Deficiency observed and correction is voluntary | N/A. It is not possible to balance HVAC air or water systems due to system constraints. | N/A. It is not possible to balance HVAC air or water systems due to space use or architectural constraints. | N/A. Extenuating circumstance as described at right. |  |  | G2. |  | No deficiency observed. | Deficiency observed and correction is required | N/A. It is not possible to adjust circulation per standards requirements using the existing controls. | N/A. There is no circulation control installed on the pumps. | N/A. Extenuating circumstance as described at right.
G9. |  | No deficiency observed. | Deficiency observed and correction is voluntary | N/A. It is not possible to adjust ventilation rate to current facility requirements due to system constraints. | N/A. Extenuating circumstance as described at right. |  |  |  | G8. |  | No deficiency observed. No study performed. | Deficiency observed and correction is voluntary | Not applicable. | N/A. Extenuating circumstance as described at right.
G10. |  | No deficiency observed. | Deficiency observed and correction is voluntary | N/A. The building does not have multiple zones. | N/A. Extenuating circumstance as described at right. |  |  |  | G9. |  | No deficiency observed. | Deficiency observed and replacement plan suggested | Not applicable. | N/A. Extenuating circumstance as described at right.
G11. |  | No deficiency observed. | Deficiency observed and correction is required | N/A. Extenuating circumstance as described at right. |  |  |  |  | Water Usage Tab:
G12. |  | No deficiency observed. | Deficiency observed and correction is required | N/A. Extenuating circumstance as described at right. |  |  |  |  | J1. |  | No deficiency observed. | Deficiency observed and correction is required | N/A. This building does not have cooling towers | N/A. Extenuating circumstance as described at right.
G13. |  | No deficiency observed. | Deficiency observed and correction is voluntary | N/A. Extenuating circumstance as described at right. |  |  |  |  | J2. |  | No deficiency observed. | Deficiency observed and correction is voluntary | N/A. This building does not have cooling towers | N/A. Extenuating circumstance as described at right.
G14. |  | No deficiency observed. | Deficiency observed and correction is required | N/A. Extenuating circumstance as described at right. |  |  |  |  | J3. |  | No deficiency observed. | Deficiency observed and correction is required | N/A. This building does not have cooling towers | N/A. Extenuating circumstance as described at right.
G15. |  | No deficiency observed. | Deficiency observed and correction is voluntary | N/A. Extenuating circumstance as described at right. |  |  |  |  | J4. |  | No deficiency observed. | Deficiency observed and correction is voluntary | N/A. There is no irrigation at this building | N/A. There is no means to schedule the irrigation at this building to improve efficient water use | N/A. Extenuating circumstance as described at right.
G16. |  | No deficiency observed. | Deficiency observed and correction is voluntary | N/A. Extenuating circumstance as described at right. |  |  |  |  | J5. |  | No deficiency observed. | Deficiency observed and correction is required | N/A. This building does not have rain sensors installed | N/A. Extenuating circumstance as described at right.
G17. |  | No deficiency observed. | Deficiency observed and correction is required | N/A. Extenuating circumstance as described at right. |  |  |  |  | J6. |  | No deficiency observed. | Deficiency observed and correction is required | N/A. This building does not have water features | N/A. It is not possible to shut down this water feature without damage or hazard | N/A. Extenuating circumstance as described at right.
G18. |  | No deficiency observed. | Deficiency observed and correction is voluntary | N/A. Extenuating circumstance as described at right. |  |  |  |  | J7. |  | No deficiency observed. | Deficiency observed and correction is required | N/A. There is no irrigation at this building | N/A. Extenuating circumstance as described at right.
[9 empty] | J8. |  | No deficiency observed. | Deficiency observed and correction is voluntary | N/A. There is no irrigation at this building | N/A. Extenuating circumstance as described at right.
[9 empty] | J9. |  | No deficiency observed. | Deficiency observed and correction is required | N/A. There is no plumbing installed at this building | N/A. Extenuating circumstance as described at right.
[9 empty] | J10. |  | No deficiency observed. | Deficiency observed and correction is voluntary | N/A. There is no plumbing installed at this building | N/A. Extenuating circumstance as described at right.
[9 empty] | J11. |  | No deficiency observed. | Deficiency observed and correction is voluntary | N/A. There are no sensor-activated plumbing fixtures at this building | N/A. Extenuating circumstance as described at right.
[9 empty] | J12 |  | No deficiency observed. | Deficiency observed and correction is voluntary | N/A. There are no water flow fixtures which can be fitted with aerators/flow reduction installed at this building | N/A. Extenuating circumstance as described at right.
Envelope Tab:
|  |  |  | K1. |  | No deficiency observed. | Deficiency observed and correction is voluntary | N/A. Extenuating circumstance as described at right.
|  |  |  | K2. |  | No deficiency observed. | Deficiency observed and correction is voluntary | N/A. This building does not have ducting. | N/A. There is no visible ductwork to inspect. | N/A. Extenuating circumstance as described at right.
|  |  |  | K3. |  | No deficiency observed. | Deficiency observed and correction is voluntary | N/A. This building does not have attics where insulation could be added. | N/A. Extenuating circumstance as described at right.

## PM bldg Lists (hidden)
Short list Categories
College/University
Distribution Center
Hospital
Hotel
K-12 School
Medical Office
Mixed Use Property
Multifamily Housing
Non-Refrigerated Warehouse
Office
Other
Refrigerated Warehouse
Residence Hall/Dormitory
Restaurant
Retail Store
Self-Storage Facility
Senior Care Community
Supermarket/Grocery Store
Worship Facility
Detailed list Categories
Adult Education | Same as above
Aquarium | Adult Education
Automobile Dealership | Aquarium
Bank Branch | Automobile Dealership
Bar/Nightclub | Bank Branch
Barracks | Bar/Nightclub
Bowling Alley | Barracks
Casino | Bowling Alley
College/University | Casino
Convenience Store with Gas Station | College/University
Convenience Store without Gas Station | Convenience Store with Gas Station
Convention Center | Convenience Store without Gas Station
Courthouse | Convention Center
Data Center | Courthouse
Distribution Center | Data Center
Drinking Water Treatment & Distribution | Distribution Center
Enclosed Mall | Drinking Water Treatment & Distribution
Energy/Power Station | Enclosed Mall
Fast Food Restaurant | Energy/Power Station
Financial Office | Fast Food Restaurant
Fire Station | Financial Office
Fitness Center/Health Club/Gym | Fire Station
Food Sales | Fitness Center/Health Club/Gym
Food Service | Food Sales
Hospital (General Medical & Surgical)* | Food Service
Hotel | Hospital (General Medical & Surgical)*
Ice/Curling Rink | Hotel
Indoor Arena | Ice/Curling Rink
K-12 School | Indoor Arena
Laboratory | K-12 School
Library | Laboratory
Lifestyle Center | Library
Mailing Center/Post Office | Lifestyle Center
Manufacturing/Industrial Plant | Mailing Center/Post Office
Medical Office | Manufacturing/Industrial Plant
Mixed Use Property | Medical Office
Movie Theater | Mixed Use Property
Multifamily Housing | Movie Theater
Museum | Multifamily Housing
Non-Refrigerated Warehouse | Museum
Office | Non-Refrigerated Warehouse
Other – Education | Office
Other – Entertainment/Public Assembly | Other – Education
Other – Lodging/Residential | Other – Entertainment/Public Assembly
Other – Office | Other – Lodging/Residential
Other – Not listed | Other – Office
Other – Public Service | Other – Not listed
Other – Recreation | Other – Public Service
Other – Restaurant/Bar | Other – Recreation
Other – Retail/Mall | Other – Restaurant/Bar
Other – Services | Other – Retail/Mall
Other – Specialty Hospital | Other – Services
Other – Stadium | Other – Specialty Hospital
Other – Technology/Science | Other – Stadium
Other – Utility | Other – Technology/Science
Outpatient Rehabilitation/Physical Therapy | Other – Utility
Parking | Outpatient Rehabilitation/Physical Therapy
Performing Arts | Parking
Personal Services (Health/Beauty, Dry Cleaning, etc) | Performing Arts
Police Station | Personal Services (Health/Beauty, Dry Cleaning, etc)
Pre-school/Daycare | Police Station
Prison/Incarceration | Pre-school/Daycare
Race Track | Prison/Incarceration
Refrigerated Warehouse | Race Track
Repair Services (Vehicle, Shoe, Locksmith, etc) | Refrigerated Warehouse
Residence Hall/Dormitory | Repair Services (Vehicle, Shoe, Locksmith, etc)
Residential Care Facility | Residence Hall/Dormitory
Restaurant | Residential Care Facility
Retail Store | Restaurant
Roller Rink | Retail Store
Self-Storage Facility | Roller Rink
Senior Care Community | Self-Storage Facility
Single Family Home | Senior Care Community
Social/Meeting Hall | Single Family Home
Stadium (Closed) | Social/Meeting Hall
Stadium (Open) | Stadium (Closed)
Strip Mall | Stadium (Open)
Supermarket/Grocery Store | Strip Mall
Swimming Pool | Supermarket/Grocery Store
Transportation Terminal/Station | Swimming Pool
Urgent Care/Clinic/Other Outpatient | Transportation Terminal/Station
Veterinary Office | Urgent Care/Clinic/Other Outpatient
Vocational School | Veterinary Office
Wastewater Treatment Plant | Vocational School
Wholesale Club/Supercenter | Wastewater Treatment Plant
Worship Facility | Wholesale Club/Supercenter
Zoo | Worship Facility
Zoo